## Slide 1: M1 Mini Operation Guide
Home Care Business Unit
Geena Gao

## Slide 2
The M1 Mini Auto CPAP system is an automatic pressure adjusting CPAP device designed for the treatment of Snoring and Obstructive Sleep Apnea and Hypopnea Syndrome (OSAHS).
Mini APP is a control software of Mini Serial device. Users can adjust parameters, control the running state and check the treatment condition by Mini APP.
BMC M1 Mini
1

## Slide 3
Brief description of the device
2
Treatment Start/Stop
Orange-red light is on when there is a prompt.
White light is on when there the device is turned on and the mask is removed.

## Slide 4
Download and Install
3
Type in BMC Mini
Find the App, click “Download”

## Slide 5
Bluetooth Management
4
After turning on，the Bluetooth indicator will be flash, meaning that the device is in the connecting state.
If the indicator didn’t flash，
touch the Bluetooth icon.

## Slide 6
Bluetooth Management
4
After turning on，the Bluetooth indicator will be flash, meaning that the device is in the connecting state.
If the indicator didn’t flash，
touch the Bluetooth icon.

## Slide 7
Bluetooth Management
4
After turning on，the Bluetooth indicator will be flash, meaning that the device is in the connecting state.
If the indicator didn’t flash，
touch the Bluetooth icon.

## Slide 8
 | Treatment icon: click to start or stop ventilation. (When Bluetooth is not connected, click this icon to enter the Bluetooth management interface)
 | Sleep icon: click it to enter into the sleep therapy interface.
 | Report icon: click it to enter the data report interface.
 | More icon: click it to enter into interface of more functions.
 | Bluetooth icon: click it to enter into the Bluetooth management interface.
 | Message icon: click it to enter into the message management interface.
 | Setting icon: click it to enter into parameter setting interface.
 | Accessories setting icon: click it to enter into the accessories setting interface.
 | Fitting Test icon: click it to enter into mask fitting test interface.
5
Description of Icon

## Slide 9
Message Management
6

## Slide 10
Settings
7

## Slide 11
Accessories
8

## Slide 12
Fitting Test
9

## Slide 13
Report Viewing and Sharing
Sharing
View histogram
10

## Slide 14
More
11

## Slide 15
Clinical Menu
12
Click the two icons together and hold on for 5s

## Slide 16
Thanks